## Objective1
Microscope X - Light Source Power Calibration | [6 empty] | date
info on measurement
ObjectiveName
Power (%) | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName
| Wavelength1 | Wavelength2 | Wavelength3 | Wavelength4 | Wavelength5 | Wavelength6 | Wavelength7 | Wavelength8

## Objective2
Microscope X - Light Source Power Calibration | [6 empty] | date
info on measurement
ObjectiveName
Power (%) | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName
| Wavelength1 | Wavelength2 | Wavelength3 | Wavelength4 | Wavelength5 | Wavelength6 | Wavelength7 | Wavelength8

## Objective3
SoRa - Light Source Power Calibration | [6 empty] | 15-7-2026
All values in mW, measured using Thorlabs S170C + PM100USB and JOB: SCF_TLPM - MultiObjective_MultiOC_PowerCalibration
PLAN APO λD 20x OFN25 DIC N2
Power (%) | SD 405 | SD 486 | SD 549 | SD 639 | SD 683 | SD 751 | ChannelName | ChannelName
| 405 nm | 486 nm | 549 nm | 639 nm | 683 nm | 751 nm | Wavelength7 | Wavelength8
5 | 0.36952 | 0.92962 | 0.7741 | 0.60189 | 0.63185 | 0.70621
10 | 0.73953 | 1.8532 | 1.4714 | 1.2848 | 1.2433 | 1.3999
15 | 1.1132 | 2.7937 | 2.3405 | 1.9469 | 1.8608 | 2.1355
20 | 1.4831 | 3.7329 | 3.2375 | 2.6018 | 2.4651 | 2.8563
25 | 1.8663 | 4.6577 | 4.3583 | 3.2686 | 3.0761 | 3.5823
30 | 2.2624 | 5.5692 | 4.8761 | 3.932 | 3.6692 | 4.2869
35 | 2.6155 | 6.4814 | 6.4434 | 4.5853 | 4.2658 | 5.0007
40 | 3.0063 | 7.4176 | 7.0459 | 5.2281 | 4.8799 | 5.71
45 | 3.3994 | 8.3537 | 8.0174 | 5.8843 | 5.4898 | 6.4229
50 | 3.7648 | 9.2847 | 8.5619 | 6.5042 | 6.0815 | 7.1381
55 | 4.1447 | 10.2254 | 9.2846 | 7.1331 | 6.7041 | 7.8664
60 | 4.5258 | 11.1576 | 11.2406 | 7.7581 | 7.312 | 8.5882
65 | 4.9142 | 12.0743 | 11.7832 | 8.402 | 7.897 | 9.3109
70 | 5.2966 | 13.0156 | 13.4302 | 9.0225 | 8.4967 | 10.0214
75 | 5.6821 | 13.9516 | 14.2998 | 9.6488 | 9.1006 | 10.7414
80 | 6.0693 | 14.8779 | 15.0552 | 10.2997 | 9.7014 | 11.449
85 | 6.4808 | 15.8034 | 16.6549 | 10.9192 | 10.2879 | 12.1468
90 | 6.8718 | 16.7406 | 17.5896 | 11.5495 | 10.9041 | 12.8877
95 | 7.2552 | 17.6805 | 18.4607 | 12.176 | 11.5296 | 13.6112
100 | 7.6316 | 18.5986 | 20.5944 | 12.7819 | 12.1443 | 14.3186

## Objective4
Microscope X - Light Source Power Calibration | [6 empty] | date
info on measurement
ObjectiveName
Power (%) | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName
| Wavelength1 | Wavelength2 | Wavelength3 | Wavelength4 | Wavelength5 | Wavelength6 | Wavelength7 | Wavelength8

## Objective5
Microscope X - Light Source Power Calibration | [6 empty] | date
info on measurement
ObjectiveName
Power (%) | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName
| Wavelength1 | Wavelength2 | Wavelength3 | Wavelength4 | Wavelength5 | Wavelength6 | Wavelength7 | Wavelength8

## Objective6
Microscope X - Light Source Power Calibration | [6 empty] | date
info on measurement
ObjectiveName
Power (%) | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName
| Wavelength1 | Wavelength2 | Wavelength3 | Wavelength4 | Wavelength5 | Wavelength6 | Wavelength7 | Wavelength8

## Objective7
Microscope X - Light Source Power Calibration | [6 empty] | date
info on measurement
ObjectiveName
Power (%) | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName | ChannelName
| Wavelength1 | Wavelength2 | Wavelength3 | Wavelength4 | Wavelength5 | Wavelength6 | Wavelength7 | Wavelength8