## laser_power_measurements
Site | Microscope | Objective | Info | Laser Line [nm] | LED Line [nm] | Power [%] | 20190910text | 20191008 | 20150101-sort
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 395 | 5 | 8.29 | 7.63 | 7.63
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 395 | 10 | 16.6 | 15.8 | 15.8
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 395 | 50 | 81.5 | 79.5 | 79.5
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 395 | 90 | 146 | 143 | 143
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 395 | 100 | 162 | 159 | 159
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 475 | 5 | 12.5 | 10.5 | 10.5
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 475 | 10 | 24.5 | 22.5 | 22.5
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 475 | 50 | 122 | 119 | 119
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 475 | 90 | 218 | 215 | 215
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 475 | 100 | 242 | 239 | 239
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 555 | 5 | 11.1 | 10.7 | 10.7
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 555 | 10 | 22.7 | 22.2 | 22.2
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 555 | 50 | 115 | 115 | 115
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 555 | 90 | 210 | 209 | 209
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 555 | 100 | 234 | 232 | 232
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 635 | 5 | 3.61 | 3.13 | 3.13
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 635 | 10 | 7.11 | 6.7 | 6.7
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 635 | 50 | 36.3 | 34.6 | 34.6
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 635 | 90 | 63.4 | 61.6 | 61.6
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 635 | 100 | 69.7 | 67.7 | 67.7
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 730 | 5 | 2.41 | 2.03 | 2.03
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 730 | 10 | 4.94 | 4.66 | 4.66
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 730 | 50 | 24.3 | 23.8 | 23.8
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 730 | 90 | 43.4 | 43.1 | 43.1
Hebelstrasse | Ti2 BSL2 | 10x/0,45 | Multibandpass |  | 730 | 100 | 48.1 | 47.2 | 47.2
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 405 |  | 5 | 0.157 | 0.171 | 0.171
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 405 |  | 10 | 0.308 | 0.34 | 0.34
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 405 |  | 50 | 1.45 | 1.62 | 1.62
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 405 |  | 90 | 2.53 | 2.87 | 2.87
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 405 |  | 100 | 2.78 | 3.17 | 3.17
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 488 |  | 5 | 0.46 | 0.464 | 0.464
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 488 |  | 10 | 0.89 | 0.895 | 0.895
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 488 |  | 50 | 4.26 | 4.26 | 4.26
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 488 |  | 90 | 7.46 | 7.5 | 7.5
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | 50um disk | 488 |  | 100 | 8.17 | 8.23 | 8.23
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 395 | 5 | 0.00252 (thats baseline, ie = ambient light) | 0.0027 | 0.0027
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 395 | 10 | 0.51 (flickering) | 0.3 | 0.3
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 395 | 50 | 5.9 (flickering) | 6.17 | 6.17
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 395 | 90 | 10.2 | 10.8 | 10.8
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 395 | 100 | 11 | 11.7 | 11.7
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 470 | 5 | 0.772 | 0.831 | 0.831
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 470 | 10 | 1.42 | 1.54 | 1.54
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 470 | 50 | 5.4 | 5.81 | 5.81
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 470 | 90 | 7.82 | 8.51 | 8.51
Mattenstrasse | Ti CSU-W1 | 20x/0,75 | Multibandpass |  | 470 | 100 | 8.25 | 9.05 | 9.05
Hebelstrasse | no_data | no_data | no_data | 561 |  | 50

## psf_measurements
Site | Microscope | Objective | Info | Channel | FWHM | 20150101 | 20131212 | 20100101-2 | 20200101something
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | DAPI | FWHM-X | 200 |  | 100 | 400
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | DAPI | FWHM-Y | 200 |  | 100 | 400
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | DAPI | FWHM-Z | 500 |  | 250 | 1000
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | GFP | FWHM-X | 200 |  | 100 | 400
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | GFP | FWHM-Y | 200 |  | 100 | 400
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | GFP | FWHM-Z | 500 |  | 250 | 1000
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | Cy3 | FWHM-X | 200 |  | 100 | 400
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | Cy3 | FWHM-Y | 200 |  | 100 | 400
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | Cy3 | FWHM-Z | 500 |  | 250 | 1000
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | Cy5 | FWHM-X | 200 |  | 100 | 400
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | Cy5 | FWHM-Y | 200 |  | 100 | 400
Hebelstrasse | Example-Entry | 20x/3.3 | Pinhole closed | Cy5 | FWHM-Z | 500 |  | 250 | 1000
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | DAPI | FWHM-X | 200 | 200 | 100 | 400
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | DAPI | FWHM-Y | 200 | 200 | 100 | 400
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | DAPI | FWHM-Z | 500 | 500 | 250 | 1000
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | GFP | FWHM-X | 200 | 200 | 100 | 400
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | GFP | FWHM-Y | 200 | 200 | 100 | 400
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | GFP | FWHM-Z | 500 | 500 | 250 | 1000
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | Cy3 | FWHM-X | 200 | 200 | 100 | 400
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | Cy3 | FWHM-Y | 200 | 200 | 100 | 400
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | Cy3 | FWHM-Z | 500 | 500 | 250 | 1000
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | Cy5 | FWHM-X | 200 | 200 | 100 | 400
Mattenstrasse | Example-Entry | 20x/3.3 | Pinhole open | Cy5 | FWHM-Y | 200 | 200 | 100 | 400
Mattenstrasse | Mic1 | 20x/3.3 | Pinhole open | Cy5 | FWHM-Z | 500 |  | 250 | 1000
Mattenstrasse | Mic2 | 10x/1.1 | Pinhole open | Cy5 | FWHM-Z | 500 |  | 250 | 1000
Mattenstrasse | Mic3 | 20x/3.3 | Pinhole open | Cy5 | FWHM-Z | 500 |  | 250 | 1000
Mattenstrasse | Mic4 | 20x/3.3 | Pinhole open | Cy5 | FWHM-Z | 500 |  | 250 | 1000
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy3 | FWHM-X |  | 651 | 651
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy3 | FWHM-Y |  | 643.2 | 643.2
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy3 | FWHM-Z |  | 859.8 | 859.8
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy3 | Shift-X |  | -1.2 | -1.2
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy3 | Shift-Y |  | -2.2 | -2.2
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy3 | Shift-Z |  | 6.2 | 6.2
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy5 | FWHM-X |  | 911.3 | 911.3 | 651
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy5 | FWHM-Y |  | 852.2 | 852.2 | 643.2
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy5 | FWHM-Z |  | 1259.5 | 1259.5 | 859.8
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy5 | Shift-X |  | Reference-X | Reference-X | -1.2
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy5 | Shift-Y |  | Reference-Y | Reference-Y | -2.2
Hebelstrasse | Example-Entry | ID5 | Test Entry | Cy5 | Shift-Z |  | Reference-Z | Reference-Z | 6.2
Hebelstrasse | Example-Entry | ID5 | Test Entry | DAPI | FWHM-X |  | 897.7 | 897.7 | 911.3
Hebelstrasse | Example-Entry | ID5 | Test Entry | DAPI | FWHM-Y |  | 953.5 | 953.5 | 852.2
Hebelstrasse | Example-Entry | ID5 | Test Entry | DAPI | FWHM-Z |  | 1142.5 | 1142.5 | 1259.5
Hebelstrasse | Example-Entry | ID5 | Test Entry | DAPI | Shift-X |  | -0.8 | -0.8 | Reference-X
Hebelstrasse | Example-Entry | ID5 | Test Entry | DAPI | Shift-Y |  | -4.8 | -4.8 | Reference-Y
Hebelstrasse | Example-Entry | ID5 | Test Entry | DAPI | Shift-Z |  | 4.8 | 4.8 | Reference-Z
Hebelstrasse | Example-Entry | ID5 | Test Entry | GFP | FWHM-X |  | 823.2 | 823.2 | 897.7
Hebelstrasse | Example-Entry | ID5 | Test Entry | GFP | FWHM-Y |  | 876.5 | 876.5 | 953.5
Hebelstrasse | Example-Entry | ID5 | Test Entry | GFP | FWHM-Z |  | 1020.5 | 1020.5 | 1142.5
Hebelstrasse | Example-Entry | ID5 | Test Entry | GFP | Shift-X |  | 0.8 | 0.8 | -0.8
Hebelstrasse | Example-Entry | ID5 | Test Entry | GFP | Shift-Y |  | -3.2 | -3.2 | -4.8
Hebelstrasse | Example-Entry | ID5 | Test Entry | GFP | Shift-Z |  | 4 | 4 | 4.8
Hebelstrasse | Example-Entry | ID1 | Test Entry | GFP | Shift-X |  | 0.8 | 0.8 | -0.8
Hebelstrasse | Example-Entry | ID1 | Test Entry | GFP | Shift-Y |  | -3.2 | -3.2 | -4.8
Hebelstrasse | Example-Entry | ID999 | Test Entry | GFP | Shift-Z |  | 4 | 4 | 4.8

## field_dist_uni
Site | Microscope | Objective | Info | Channel | 20260101 | 20260109 | 20260120 | 20260104
Mattenstrasse | Test_microscope | Test_63x | Test_info | 488 | omero3454869_ch-1 | omero3454869_ch-1 | omero3454869_ch-1
Mattenstrasse | Test_microscope | Test_63x | Test_info | 561 | omero3454869_ch-2 | omero3454869_ch-2 | omero3454869_ch-2
Mattenstrasse | Test_microscope | Test_63x | Test_info | Alexa 647 | omero3454869_ch-3 | omero3454869_ch-3 | omero3454869_ch-3
Mattenstrasse | Test_microscope | Test_63x | Test_info | DAPI | omero3454869_ch-0 | omero3454869_ch-0 | omero3454869_ch-0
Hebelstrasse | Test_microscope | Test_63x | Test_info | 488
Hebelstrasse | Test_microscope | Test_63x | Test_info | 561
Hebelstrasse | Test_microscope2 | Test_63x | Test_info | DAPI
Hebelstrasse | Test_microscope2 | ID2 | Test_info | DAPI
Hebelstrasse | Test_microscope2 | IDN3 | Test_info | DAPI
Hebelstrasse | Test_microscope2 | noID | Test_info | DAPI

## objective_db
ID | Name | Magnification | NA | Medium | Refractive Index | Working Distance [mm] | Ph | Location | Belongs to system | Manufacturer | Vendor ID | Purchase date
ID1 | CFI Plan Apo λ | 4x | 0.2 | Air | 1 | 20 | none | on system | BSL2 | Nikon | MRD00045 | 201906
ID2 | CFI Plan Apo λ | 10x | 0.45 | Air | 1 | 4 | none | on system | BSL2 | Nikon | MRD00105 | 201906
ID3 | CFI Plan Apo λ | 20x | 0.75 | Air | 1 | 1 | none | on system | BSL2 | Nikon | MRD00205 | 201906
ID4 | CFI Plan Apo λ | 40x | 0.95 | Air | 1 | 0.25-0-17 | none | on system | BSL2 | Nikon | MRD00405 | 201906
ID5 | CFI Plan Apo λ | 100x | 1.45 | Oil | 1.518 | 0.13 | EXT Ph4 | cupboard | Ti2 | Nikon | MRD01905 | 201808
ID19 | CFI Plan Apo λ | 60x | 1.4 | Oil | 1.518 | 0.13 | EXT Ph3 | Cupboard | CSU-W1 | Nikon | MRD01605 | 202007
IDN1 | CFI Plan Apo λ | 4x | 0.2 | Air | 1 | 20 | none | on system | BSL2 | Nikon | MRD00045 | 201906
IDN2 | CFI Plan Apo λ | 10x | 0.45 | Air | 1 | 4 | none | on system | BSL2 | Nikon | MRD00105 | 201906
IDN3 | CFI Plan Apo λ | 20x | 0.75 | Air | 1 | 1 | none | on system | BSL2 | Nikon | MRD00205 | 201906
IDN4 | CFI Plan Apo λ | 40x | 0.95 | Air | 1 | 0.25-0-17 | none | on system | BSL2 | Nikon | MRD00405 | 201906
IDN5 | CFI Plan Apo λ | 100x | 1.45 | Oil | 1.518 | 0.13 | EXT Ph4 | cupboard | Ti2 | Nikon | MRD01905 | 201808